## Slide 1
Python and GUI Implementation for Internal Optimization and Increased Usability of in vivo Glucose Sensing System
1 – Princeton University Department of Electrical Engineering, Princeton, NJ, 08540, USA
2 – Permanent Address: Rensselaer Polytechnic Institute, Troy, NY, 12180, USA
3 – Permanent Address: Smith College, Northampton, MA, 01063, USA
Industry / Practitioner Collaborators: Daylight Solutions Inc. Zurich Instruments
4 – Permanent Address: Bucknell University, Lewisberg, PA, 17837, USA
5 – Permanent Address: Hunterdon Central Regional High School, Flemington, NJ, 08822, USA
email: dipippo@princeton.edu / dipipk@rpi.edu
QCL
Integrating Sphere
Detector
Spectral Analysis
  - GUI started up and populated with data
  - Number of spectral runs are taken
  - Various statistical analyses applied:
  - Wavelet transform
  - Savitzky-Golay Filtering with Differentiation
  - Machine Learning Prediction Algorithm
  - Final predicted glucose concentration
  obtained
Kathryn DiPippo1,2, Alex Werth1, Michelle Zhang1,3, Phillip Heucke1,4, Jessica Doyle1,5, Claire Gmachl1

## Slide 2
GUI – CLINICAL AND SOLUTIONS

## Slide 3
Converting MatLab to Python

## Slide 4: SEE ME AT POSTER #15